## Slide 1: Whole Effluent Toxicity (WET) Methods
Determines the toxic effect from all pollutants contained in a facility’s discharge to aquatic organisms

## Slide 2: Whole Effluent Toxicity (WET) Methods
Methods measure the ability of an organism to survive, grow and reproduce

## Slide 3: Acute Toxicity
Short-term exposure
24 or 48 hours
Evaluating 1 sample

## Slide 4: Chronic Toxicity
Long-term exposure
7 days
Evaluating 2 or 3 samples

## Slide 5: Invertebrates
Water flea
Ceriodaphnia dubia
Mysid shrimp
Americamysis bahia

## Slide 6: Vertebrates
Inland silversides
Menidia beryllina
Fathead minnows
Pimephales promelas

## Slide 7: Scheduling
Enough space / glassware for testing
Number of organisms needed
Salt water organisms are purchased and each batch needs to be QC checked
Research testing
Reporting deadlines

## Slide 8: Sample Kits
Did you receive your kit?
When you get your kits, make sure you have everything you need!
  In each cooler:
      Zip lock bag
      Instructions
      Chain-of-Custody
      Custody Seals
      Return Shipping Label
      Trash Bag
      Cubitainer(s)

## Slide 9
Make sure
the test information we have is correct!
Correct any information that may be wrong.
This is what we use to know what testing to perform.

## Slide 10: Sample Preparation
Aliquot warmed to 25.0 ± 1.0oC
Sample diluted to permit limit
For pass/fail chronic test dilution preparation:
1.6% limit: 4.8 mL effluent + 295.2 mL laboratory water
23.6% limit: 70.8 mL effluent + 229.2 mL laboratory water

## Slide 11: Dilution Water
Deionized water
with salts added

## Slide 12: If Present, Other Organisms Removed
Competition
for food
Confusion with testing organisms
Moina
Daphnia
Copepod
Ostracod

## Slide 13: Basic Chemical Analyses
pH
Dissolved Oxygen
Conductivity
Salinity
Total Residual Chlorine

## Slide 14: Controlled Test Conditions
25.0 ± 1.0oC
16-hours light
8-hours dark
Light
50–100 ft-c
Randomized

## Slide 15: Organism Age
Varies to target either a specific developmental stage
or sensitive time period
Ceriodaphnia
< 24-hours old
Mysid shrimp
Acute: 1-5 days old
Chronic: 7-days old
Fathead minnows
Acute: 1-14 days old
Chronic: < 24-hours old
Inland silversides
Acute: 9-14 days old
Chronic: 9-11 days old

## Slide 16: Test Conditions
Ceriodaphnia Acute | Pass/Fail | Full-range
Concentrations tested | 1 | 5
Replicates | 4 | 4
Number of organisms per replicate | 10 | 5
Ceriodaphnia Chronic | Pass/Fail | Full-range
Concentrations tested | 1 | 5
Replicates | 12 | 10
Number of organisms per replicate | 1 | 1
Minnow Chronic | Pass/Fail | Full-range
Concentrations tested | 1 | 5
Replicates | 4 | 4
Number of organisms per replicate | 10 | 10
Mysid Chronic | Pass/Fail | Full-range
Concentrations tested | 1 | 5
Replicates | 8 | 8
Number of organisms per replicate | 5 | 5
Minnow and Mysid Acute | Pass/Fail | Full-range
Concentrations tested | 1 | 5
Replicates | 4 | 2
Number of organisms per replicate | 10 | 10
Varies with each
type of test
to give the best statistical comparison

## Slide 17
Acute tests
are not fed
Feeding
Artemia
Algae
Chronic tests
are fed daily

## Slide 18
Acute Tests: Pass/Fail or LC50
Control
Sample

## Slide 19: Ceriodaphnia Tests Survival and Reproduction
Minnow and Mysid Tests Survival and Growth
Chronic Tests: Pass/Fail or Chronic Value (ChV)

## Slide 20
Chronic Tests: Pass/Fail or Chronic Value (ChV)
ChV = NOEC x LOEC = 25 x 50 = 35.4%
___________
______

## Slide 21: Toxicant Exposure with Ceriodaphnia
Small
Healthy
Clear

## Slide 22: Toxicant Exposure with Minnows
Healthy
Small
Stressed